## Slide 1: Making Medical Device and Integration Decisions with Wisdom
Clinical Informatics: It’s Our Time!
2014 Clinical Informatics Academy
Sponsored by DFW ANIA Chapter
October 10-11, 2014
Lisa Gulker, DNP, RN, ACNP-BC
Senior Director, Applied Clinical Informatics
Tenet Healthcare Corporation

## Slide 2
Conflict of Interest Disclosure
Lisa Gulker, DNP, RN, ACNP-BC
has no real or apparent
conflicts of interest to report.

## Slide 3: Content Objectives
Describe the design principles and clinical standards that must be preserved by informatics leaders when making decisions about medical devices in the care environment.
Explain the concept of biomedical device integration with electronic health records and clinician communication devices, focusing on alert messages to the clinician.
Discuss an example of the unintended consequences of device integration and how informatics leaders can intervene to protect the caring relationship between clinicians and patients.

## Slide 5: Stewardship
“The conducting, supervising, or managing of something; especially: the careful and responsible management of something entrusted to one's care.”

## Slide 6
Safety = Basic Expectation
Quality = Achieving a Benchmark
Value = Delivering Personalization (what is important to the patient?)

## Slide 7: Clinicians are knowledge workers
Clinicians use data transformed into information to make knowledgeable and wise disciplinary decisions.
Information is lost when it is assumed to be based on “bad” data.
Knowledge, in all of its forms, may not be increased or available for use when data and information are lost.

## Slide 8: Data Stewardship
“Data that is loved tends to survive.” – Kurt Bollacker, Data Scientist

## Slide 9: Data-Information-Knowledge-Wisdom
Philosophical Approaches to the Nursing Informatics Data-Information-Knowledge-Wisdom Framework.
Matney, Susan; MSN, RN; Brewster, Philip; Sward, Katherine; PhD, RN; Cloyes, Kristin; PhD, RN; Staggers, Nancy; PhD, RN
Advances in Nursing Science. 34(1):6-18, January-March 2011.
DOI: 10.1097/ANS.0b013e3182071813
Figure 1 . DIWK framework. Reprinted with permission from Nelson.17

## Slide 10: Data-Information-Knowledge-Wisdom
Data: symbols that represent objects, events and their properties (30)
Information: “data plus meaning” (a heart rate of 30 bpm) – can be organized in a way that is discipline-specific.
Knowledge: information synthesized via identified relationships – answers how and why questions (a HR of 30 bpm from telemetry in a patient who is a DNR)
Wisdom: the appropriate use of knowledge to manage and solve human problems (a HR of 30 bpm in a patient who is a DNR with his family at the bedside)
Matney et al., (2011)

## Slide 11
Complexity and Clinicians

## Slide 12: Device Integration Principles: Acknowledge and Accept the Chaos
The context of clinical practice for a clinician = CHAOS
Patricia Ebright, RN DNS, Indiana University (JONA, 2003)
  Studied patterns of interruptions of clinicians and how those affected decision making
  “Stacking”

## Slide 13
The practice of data stewardship is another way to care for patients.
Device Integration Principles

## Slide 14
To a clinician, a biomedical device is an extension of the patient.
Device Integration Principles

## Slide 15
Mobility applications and technology innovations should provide information that drives the clinician to the bedside of the patient.
Device Integration Principles

## Slide 16
A informatics leader’s lens for focus –
NOTHING comes in between the patient and the clinician.
Device Integration Principles

## Slide 17: What’s Important?
Patient Beliefs
  If I need a drink of water…
  If I am in pain…
  If I ring my call light…
  If my IV medication stops infusing…
  If I can’t reach my telephone…
  If I am starting to get a bad infection…
  If my heart stops…
Someone will know and someone will come…

## Slide 18: What’s Important?

## Slide 19
Lay the Foundation – Awareness
Purpose
  Clinical practice (including clinician preference), although important, is not the only driver for device selection.
  Educate key stakeholders on the importance of integrating clinical data from the device into EHR.
  Outline key factors to guide device/product/software selection.
Device Acquisition, Utilization, and Clinical Practice

## Slide 20
Device selection always includes the potential users.
Device selection process allows comparison, including simulation of use, among several devices.
Ideally, a governance structure is established to make decisions about standardized device selection as part of a strategic vision for the device ecosystem.
Guiding Principles – Device Selection

## Slide 21
Provide the patient with the safest, most integrated medical device to facilitate real-time clinical decision-making AND provide secondary users of the data with real data integrity.
P#1 Patient Safety
Clinical Data is Relevant and Safe
Compatibility
Integration
Reporting
Clinical Standards
Risk Management
P#2 Clinical Usability
Support of Workflow
Human Factors
Portability
Ergonomically Designed
Training
Infection Control
Durability
P#3 Cost of Ownership
Compatibility
Testing and Certification
Serviceability
Upgradeability
Maintenance Requirements
Scalability
ROI
EHR & IT Costs
P#4 Technology
Method of integration
Testing and Certification
Facility Requirements
Network/ISD Requirements
Security
Downtime
Analytics
P#5 EHR Integration
Sub-license Software from Device Manufacturer
EHR Integration Model and Capabilities
Alarm Model
Alerting Model
Device Acquisition Criteria

## Slide 22: The Collision of the Nurse and the Engineer
Nurse
  The important clinical information is on the face of the device.
  This is the data that should go to EHR.
  Validation and authentication of the data must include my name and my credentials.
Engineer
  Data flowing from the back of the device doesn’t have to match what shows on the front.
  You want to send the data where?
  You want me to meet with IT - again?

## Slide 23: Illumination
Often, a careful assessment of the current state for practice standards and workflow is not conducted prior to applying HIT to the practice environment.
Application of HIT results in the illumination and amplification of the current state, and unintended consequences.

## Slide 24: An Example – Vital Signs
Vital Signs are Vital
  Important indicators of current health status and predictors of future course
  Data elements for early warning scores and identification algorithms
  Often measured by assistive personnel using mobile workflows and devices
Data Accuracy
  Literatures shows a range of error rates in both paper records and EHRs
Data Latency
  Vital signs spent too much time in the pockets of our staff (on a piece of paper)

## Slide 25: Vital Signs Acquisition Before EHR Conversion
Patient’s Body
Vital Signs Monitor
Paper Flowsheet
(Bedside Clipboard)

## Slide 26: Caring and Competent PCA’s….. (Patient Care Associates)

## Slide 27: Vital Signs Acquisition After EHR Implementation and Before Device Integration
Patient’s Body
Vitals Signs Monitor
Pocket
EHR
Paper

## Slide 28: Unintended Consequences
Increased Number of Transcription Events
Increased Potential for Transcription Errors
Increased Data Latency
Decreased Data Accuracy
Workflow Interference
Workflow Inefficiency

## Slide 29: Congratulations! You Have Been Transformed?

## Slide 30: Vital Signs Acquisition After Device Integration
Patient’s Body
Vitals Signs Monitor
Pocket
EMR
Paper

## Slide 31: Another Example - Telemetry Alarm Integration

## Slide 32: Lethal Dysrhythmia Alarm at Central Station (primary alarm) Becomes a Text Alert (secondary alarm) to RN Phone

## Slide 33: Expected Benefits of the Innovation
Excellence in clinical care
  It was difficult to maintain the competency of telemetry associates (TAs), and not all telemetry units had TAs around the clock
  TAs also functioned as unit clerks
  Decreased response time to alarms may result in better outcomes
    Increased chance for survival to discharge
    Lethal arrhythmia alarms go to all phones of all staff on unit
    If alert is not acknowledged in 30 seconds, alert escalation goes to secondary RN and/or manager/nursing supervisor.

## Slide 35: Problem Statement
The cardiac telemetry notification innovation/intervention resulted in increased alarm load for the acute care RN/PCA staff and alert fatigue due to false alarms; RNs are ignoring the alerts and there is the potential for a real dysrhythmia event to be ignored or missed.

## Slide 36: Theoretical Framework: Jean Watson’s Theory of Human Caring
“If a true, actionable, lethal telemetry alarm is ignored because nurses have become desensitized to the data or alerts that are transmitted due to alert fatigue, they are no longer engaged in attending to their patients’ most basic human need of preserved respiratory and circulatory function. A safe environment for the patient is being withheld.”

## Slide 37: Alarm Load
Alarm load is a quantity
It is the number of alarms/alerts that are presented to a recipient per total number of alarm devices in use and capable of sending alarm(s)
Example: Cardiac Telemetry
  # cardiac telemetry alarms/# telemetry transmitters in use (in a 24 hour period)

## Slide 38: Significance to Clinical Practice
An effective alarm system provides the RN with the information needed to intervene quickly during adverse cardiac events (sensitivity and specificity)
  Never miss a clinically important event (actionable)
  Never send an alarm when there is no cardiac activity that warrants one

## Slide 39: As an clinical informacist, where would you look for a solution to this problem?

## Slide 40: Research Question
Will strict adherence to daily electrode skin prep and change of electrodes decrease the alarm load and/or alarm fatigue experienced by the clinical staff?

## Slide 41: Project Objectives
Measure the baseline perceptions of the RN and PCA staff regarding the effectiveness of clinical alarms on the nursing unit, including their experience with alarm fatigue.
Increase the awareness of the registered nurses and patient care associate staff regarding alarm management, the risks of alarm fatigue, and the evidence-based strategies proposed from the American Association of Critical Care Nurse Practice Alert™ for Alarm Management.
Measure the current baseline alarm load and false alarm rate from lethal cardiac dysrhythmia alarms produced by the telemetry system on the nursing unit.

## Slide 42: Project Objectives
Establish three evidence-based nursing practices related to ECG electrode placement for telemetry monitoring as routine care for the nursing unit.
    Provide proper skin preparation prior to ECG electrode placement.
    Apply the ECG electrodes to the proper anatomic landmarks for five lead telemetry monitoring.
    Change the ECG electrodes for all telemetry patients daily.
Reduce the alarm load experienced by the unit staff once the three evidence-based practices for ECG electrode use are instituted.
Notes: 30 bed acute care unit
Include types of alarms and their frequency
Include a policy examination and improvement if needed

## Slide 43: Project/Study Design
Conducted a voluntary and anonymous survey for staff related to alarm system management
Provided education to staff related to alarm system management, alarm fatigue, and the AACN practice standards
Measured the current state for the telemetry alarm system for 8 days (usual care):
  Alarm load: Total number of false lethal dysrhythmia alarms/telemetry census/24 hours
  Rate of false lethal alarms
Intervention – Implemented AACN telemetry practice standards for ECG electrodes on the unit
Measured alarm system (same measures as above) with the intervention for 8 days
Notes: Survey developed by the Health Technology Foundation in cooperation with AACN – has been given nationally twice (2008 and 2011) and has been used to support the work of various research, policy, and practice associations described to you by our keynot to gage the impact of alarm systems on the practice environment
Project design was drawn from the work that is being done by Maria Cvach at Johns Hopkins related to reducing alarm fatigue. In her work that was published in 2013 she used this same study design in a similar unit with similar physiologic monitors and numbers of beds.

## Slide 44: Results – Alarm System Survey

## Slide 45: Results – Alarm System Survey Example of Free Text Comments
“Here are some examples of alarms for …(the telemetry system)… that have alarmed. We have had instances of …(the telemetry system)… reading a patient is asystole and have ran into a patients room only to find the pt is completely fine. This happens quite frequently. At times the alarms for …(the telemetry system)… happen when a pt may be a little tachy and the Dr. is aware but the parameters are set as such that they just keep alarming all day. This can be such a nuisance and staff find themselves just ignoring the alarms.”

## Slide 46: Intervention
Daily between 0800-1200, for 8 consecutive days, the ECG monitoring electrodes will be changed for each telemetry patient.
Proper skin preparation will be followed.
  Excessive chest hair will be clipped.
  Dead skin cells, oil, dirt, and other skin surface debris will be removed using a washcloth with soap and water.
  The skin will be dried using a washcloth in order to remove the stratum corneum.
  Fresh ECG electrodes from a closed package will be applied in the proper anatomical positions.

## Slide 47: Analyzing Each Alarm Event –

## Slide 48: Analyzing Each Alarm Event

## Slide 49: This is what Transformation looks like.

## Slide 50: The Telemetry Alarm Environment
Over 7,000 physiologic alarm events over 16 days, or
  About 438 alarms per day
  About 18 alarms per hour
  About one alarm every 3 minutes
“Lead Failure” events accounted for 74% of these event (n=5,177)
  Lead failure alarms indicate that that patient is not being monitored effectively, and probably indicates that staff are not managing the telemetry transmitter properly

## Slide 52: Results: Lethal Alarm Load and False Alarm Rate
Instead of each phone receiving about 91 alarm events per day (usual care), the number of alarm event notifications dropped to about 35 per phone per day (during intervention).

## Slide 53: Implications for Informatics Practice
Automation of alarm notifications took the “noise” and alarm burden from the central station and placed it into the nurses’ pockets.
  Measure alarm load and look at practice and workflow before alarm notifications are automated
CNE - Institute daily skin prep and electrode changes as expected cardiac monitoring practice in adult acute care – with clearly defined accountability.
False alarms in the practice environment are about 98% for cardiac telemetry – efforts must be targeted at reducing the false alarms.

## Slide 55: Time for Questions and Discussion…

## Slide 56: Contact Information
Lisa Gulker, DNP, RN, ACNP-BC
Senior Director
Applied Clinical Informatics
Tenet Healthcare Corporation Headquarters
1445 Ross Avenue, Suite 1400
Dallas, TX 75202
Office 469. 893.2684
e-mail: lisa.gulker@tenethealth.com