## Slide 1: Patient Safety and Clinical Informatics : A Systems Approach
Karen Garvey MPA/HCA, BSN, DFASHRM, CPHRM, CPPS
Tsedey Melaku MS, BSN, RN

## Slide 2: Objectives
Explain daily executive safety huddle process and the role of informatics and IT.
Review a case study on how projects originate from the review of safety events
Review a case study on the unintended consequences of technology and how a systems approach can reduce the risk
Notes: Daily Executive Huddle Process (Karen to discuss)
  Short explanation of huddle process, the genesis, attendees
  Explain how data or technology is used to facilitate the process (screen shot of the dashboard)
Case study on how projects originate from the review of safety events (Tsedey to discuss PCA ordering and documentation standardization)
Review a case study on the unintended consequences of technology (Karen to discuss)
  Tap and Go outage/downtime leading to RCA process with IT
  Cardiology project impacting urology results due to programming errors.

## Slide 4: Daily Executive Huddle
Objectives:
  Escalation pathway for concerns operational concerns & safety issues
Timeframe:
  Daily (0800); weekends and holidays
  5-15 minute call
  Standard agenda
  Daily Report on necessary follow-up
  Loop Closure follow-up
Attendees:
  Executive Leadership
  Guests/Celebrations:
Huddle Board metrics

## Slide 5: Executive Huddle Board
Notes: Animate in

## Slide 6: Review of Safety Events
Unplanned ‘Tap & Go’ Outage
  Several calls related to inability to log into desktops
  Issue with ‘certificate’
  Contract Management
IT cardiac build project:
  Programming build
  Syntax error: use of comma (,) vs. up carrot (“^”)
  Caused image delay routing (Urology)
    741 images impacted
    Temporary Serious Harm to one patient
    Disclosure & continued treatment

## Slide 7: TJC Root Causes

## Slide 8: IT related to Safety: Radiology Imaging Surveillance
Adverse Event born out of RCA
FMEA
Enterprise-wide project
Phase II underway
Notes: Feeding pump Errors
CADD pump (chemotherapy)
Panic alerting mechanisms for staff safety (WPV)

## Slide 10: Patient Safety & Healthcare IT
A newly formed collaborative relationship
  Mutual appreciations
  Differing skill sets; common purpose
Reciprocal IT Services ‘Root Cause’ attendance
  Incorporated into systemwide ‘Root Cause’ policy
Working together to improve patient care

## Slide 11: Review of Safety Events
Multiple RCA/event reports related to patient controlled analgesia (PCA) errors
Causal analysis of PCA misprogramming completed by Safety Department
Interprofessional workgroup formed to review the workflow for ordering, administering, and documenting PCA medications

## Slide 12: PCA Documentation & Workflow Analysis
PCA medication administration and waste documentation was cumbersome and difficult to understand.
The PCA documentation build was designed to capture cumulative totals and waste documentation.
Parkland specific custom build was used in order to meet the request from stakeholders.

## Slide 13: PCA Dosing Information

## Slide 14: PCA Dosing Information

## Slide 15: EHR Usability Aspects
https://www.himss.org/what-ehr-usability

## Slide 16: PCA Documentation Analysis
Notes: The prime volume is reported in mLs on the PCA pump. For all infusions that are dosed by milligrams or micrograms, NURSE WILL HAVE TO CONVERT the volume in milliliters to the dose measurement of milligrams or micrograms to enter in the flowsheet in order for the total to be correct.
Documenting New Bag/Cartridge starts the auto calculation of the Cumulative Total and Syringe Cumulative Total rows. This must be done prior to documenting any value in the column!
Make any corrections by inserting a row at least 1 minute after the last documentation for the formula to work.
When scanning PCA syringes, delete all data in the 2 “Dose” fields on the MAR to avoid documenting the total of the syringe as a bolus

## Slide 17: EHR Usability Aspects used to Redesign Process
Notes: 3. If a clinician is documenting a detailed and difficult clinical process with an equally detailed and difficult software interface, then cognitive overload is likely to occur
if

## Slide 18: Forgiveness & Feedback

## Slide 19: Minimizing Cognitive Load
When PCA syringes are scanned, the total amount of the syringe is automatically entered in the “Dose” field and is documented as a bolus in the flowsheet.
To avoid this erroneous documentation, you must delete the 2 dose fields on the MAR so that they are both blank before you sign-off.

## Slide 20: ECRI Recommendations to Reduce Pump Programming Errors
Factors that can contribute to wrong-field programming errors include the layout of an infusion pump’s programming screen, the sequence in which infusion programming parameters are listed on the medication administration record (MAR), and the absence of procedures to verify the accuracy of pump programming.
Other recommendations include configuring your MAR to match the sequence in which infusion parameters will be entered into the pump and instituting appropriate double-checks to verify pump programming.
©2018 ECRI Institute. 2019 Top 10 Health Technology Hazards: Executive Brief

## Slide 21: PCA Ordering & Documentation Redesign

## Slide 22: PCA Ordering & Documentation Redesign
The PCA medication build was modified to include discrete dosing for loading dose, patient bolus dose, lockout interval, basal rate, and four hour dose limit.
Utilized ECRI Institute recommendations and HIMSS (Health Information Management Systems Society) EHR usability guidelines to redesign the PCA ordering and documentation workflows.

## Slide 23: References
ECRI Institute 2019 Top 10 Health Technology Hazards: Solutions Kit (published 09/26/2018)
https://www.himss.org/what-ehr-usability